## Slide 1: Meteorological Observation System in South Sudan By Phillip Nagarch 13-17 August 2018

## Slide 2: Meteorological Observation Network
The current monitoring network of SSMD ( Figure1 ) is currently made of five Synoptic station at Juba International Airport , Renk , Malakal, Wau and Raga of which only three are operational . However, many instruments are missing and the stations are all in need of urgent Maintenances or total replacement .
The SSMD monitoring network was complemented by nine (9) Automatic Weather Stations (AWS) installed by United Nation Food and Agriculture Organization (UNFAO) in 2008 and 2009 in some states
Currently all are not working, due to lack spare parts. Maintenances in process soon.

## Slide 3
Figure 1

## Slide 4: CURRENT OBSERVATIONAL NETWORK Contd….
Upper Air Station:
We don’t have
Remote Sensing:
We don’t have
Pollution Monitoring:
We don’t have

## Slide 5: National Telecommunications Network:
Data collected from the outside stations by phone call to the HQs.
No SSB Radio used to collect data from the synoptic weather observation stations.
Synoptic Station

## Slide 6
THANKS FOR YOUR ATTENTION